| Control Measures |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Permit to work |  |  |  | PPE |  |  |  |
| 1. Permit to work required and issued by Authorised person |  |  |  | 16. Ensure PPE is suitable and sufficient to hazards identified |  |  |  |
| Slips, trips and falls |  |  |  | Segregation |  |  |  |
| 1. Ensure the area is cleared of all trip hazards |  |  |  | 17.Ensure erection of barriers |  |  |  |
| 2. If required always wear appropriate fall protection |  |  |  | 18. Ensure correct signage is in place |  |  |  |
| 3. Utilise appropriate MEWP or scaffold only if trained to do so |  |  |  | 19. Ensure adequate lighting is available or portable lighting to be used |  |  |  |
| Lone Working |  |  |  | 20. Ensure water/ grease or any contamination of floor area is clean |  |  |  |
| 5. Ensure communications is maintained for duration of task |  |  |  | Asbestos |  |  |  |
| Working at height |  |  |  | 21. Check asbestos register prior to task |  |  |  |
| 6. Two men operation required |  |  |  | 22. Work in line with asbestos awareness training |  |  |  |
| 7. Ladders,Steps,Scaffold is registered and compliant |  |  |  | 23. Adopt presumptive approach where information is not available |  |  |  |
| 8. Ensure area is cordon off during operation on height equipment |  |  |  | Electrical and mechanical controls / isolations |  |  |  |
| Manual Handling |  |  |  | 24. All points of isolation have been correctly identified |  |  |  |
| 9. Ensure mechanical assistance |  |  |  | 25. Ensure Lock off/ Tag Off (LOTO) is followed |  |  |  |
| 10. Two men required to carry out task |  |  |  | 26. Ensure spring tension is removed for all RSD and SOHD |  |  |  |
| 11. Ensure transportation route is planned and checked to ensure clear |  |  |  | Miscellaneous controls |  |  |  |
| COSHH |  |  |  | 27. Ensure all hand tools are in a good condition |  |  |  |
| 12. Follow guidance accordance to data sheet for a safe transport and storage |  |  |  | 28. Ensure all portable tools are in good condition and are compliant |  |  |  |
| 13. Ensure reference to COSHH Risk Assessment |  |  |  | 29. Ensure tasks are carried out in a well-ventilated area |  |  |  |
| 14. If airborne particles are created ensure extraction/ control is implanted |  |  |  | 30. Trained and compliant |  |  |  |
| Noise/ Vibration |  |  |  | 31. Adhere to clients/ site rules |  |  |  |
| 15. Implement controlled exposure (time) |  |  |  | 32. Good hygiene practices (e.g. wash hands after work) |  |  |  |
| Additional control measures |  |  |  | 33. Adhere to customers procedures / safe systems of work |  |  |  |